Mr Todd Marshall

WCHD

6/8/21

Re: IEPA/NESHAPS asbestos inspection at 5311 Claremont	         		           IWE Job # MC2800

Illinois asbestos building inspector Jeremy Bonacquisti IDPH # 100-6296 has completed the non-destructive, pre-demo NESHAPS inspection of suspect asbestos containing materials at the property listed above. The inspection was completed for the purpose of demolition. Ironwood is not responsible for the presence of acbms hidden in undetectable places, such as false walls, pipe chase, etc. All quantities are to be considered estimates. It is the responsibility of each bidding contractors to field verify quantities for their own bidding purposes. Samples were collected during a visual inspection of the property listed above and sent to TEM, an independent EPA / NVLAP approved lab, for determination of the presence of asbestos. Please refer to the TEM lab report for results. The following materials tested positive for asbestos and would be required to be abated prior to demolition by an EPA accredited and IDPH licensed asbestos abatement contractor.

None of the samples collected were found to be asbestos containing

Respectfully Submitted,

Jeremy Bonacquisti

Jeremy C. Bonacquisti

Ironwood Environmental Inc.